July 9, 2024

The Benton Irrigation District’s (BID), Board of Directors (BOD) meeting was held at the District office on Highland Road in Benton City, WA beginning at 3 pm

In Attendance: Chairman Robert Buoy, Director Jeff Tarr, Director Tyler Wilson, Operations Manager Jason Blanchard, Office Manager Dianne Andrews

Visitors: Manny

- June 24, 2024, Meeting Minutes
A motion was made to approve. All in favor. Approved.

- Operation/Maintenance Vouchers:

| Warrant 2024-15 | $28,121.24 |
| --- | --- |
| Voucher – REA | $38,768.70 |
| Voucher – Elan | $2,182.24 |
| Total | $69,072.56 |

Motion to approve the above-referenced warrants and voucher, all in favor. Approved.

- Visitor Concerns:

- Manny, tampering at 601 10th St.: States that they called the office and were told everything after the first valve is the owner’s responsibility an that they could repair. Therefore, the replaced the broken filter and removed the dole as it no longer fit. They did not mean to tamper, they were just repairing. Per Board, we have a zero tolerance policy for tampering and since the dole valve was removed, they are standing behind the tampering charge.

- Administrative Report:

- Assessments received: MTD $1k, YTD $1247k, or 96%
Investment income received this month: $0k
Misc. Income & rent this month: $1K

- Budget vs. Actual financials – on budget

- Newsletters – Add info about keeping the delivery area clean a free to trees and shrubs (especially Russian Olive) to allow us to maintain the deliveries

- Looked into postage meters. Postage savings not worth the cost of the rental fees.

- Maintenance Report:

- Working on lockouts for overdue assessments

- Currently running at 26 cfs

- Tampering - 906 Chris Ave, Espinoza: removed gate valve. Sent letter and fine.

- Tampering - 1005 Jonah, Bangs: Dismantled and removed dole valve. They plan to contest.

- Willows/Whan delivery – had no water. Blew it out, snaked it & hit block. Replaced about 100’ of pipe and discovered it was just a closed corp stop. Also found quite a bit of Schedule 20 pipe that will need to be replace in winter.

- New a/c unit installed at Morgan. 4 ton. About $11,000

- Having a mouse issue at Morgan. Installing traps.

- Did lab testing for ecoli. Lab implied we could be audited and fined for not doing it 3 times per year. Board decided once a year is enough. Have not received the results yet.

- Fish screens – getting a quote on refurbishment

- Ki-Be schools – deliveries are capped and they seem to be running off a well. Jason will talk to them.

- Executive Session: none

Director Jeff Tarr moved to adjourn the meeting, all in favor.

Meeting adjourned at 4 pm

Director    ___________________		Director    ___________________

Director    ___________________