January 7, 2025

The Benton Irrigation District’s (BID), Board of Directors (BOD) meeting was held at the District office on Highland Road in Benton City, WA beginning at 9 am

In Attendance: Chairman Robert Buoy, Director Jeff Tarr, Director Tyler Wilson, Operations Manager Jason Blanchard, Office Manager Dianne Andrews

Visitors: none

- December 10, Meeting Minutes
A motion was made to approve. All in favor. Approved.

- Operation/Maintenance Vouchers:

| Voucher – Elan | $1,025.03 |
| --- | --- |
| Warrant 2024-28 | $17,913.19 |
| Warrant 2025-1 | $7,547.20 |
| Warrant 2024-29 | $3,374.54 |
| Total | $29,859.96 |

Motion to approve the above-referenced warrants and voucher, all in favor. Approved.

- Visitor Concerns:

- Administrative Report:

- Assessments received: MTD $1k, YTD $1k, or 0%
Investment income received this month: $0k
Misc. Income & rent this month: $0k

- BOE Amendment – got numbers for Buoy BLA. Acreage reduced by .98 acres, which also changes the Certificate of Assessment. New Certificate approved.

- Maintenance Report:

- Emery & Sons – new fish screen is shipping. Install currently scheduled for 1st week of February and will take about a week.

- Vac truck is currently cleaning out pump station. Afterwards will install jets. Will look into having the vac truck return once the fish screen is pulled if more cleaning needs to be done.

- Cherry Hill – meeting at 2pm. Street lights conduit was installed incorrectly and is directly touching our line. Will need them to move it.  
Concrete collars on the valve cans – they plan to use fiber & plasticizers instead of rebar. Board approves.
They used C200 pipe instead of Schedule 40. We asked them to use Sch. 40 during the pre-con meeting, but our printed specs say C200. We will need to update our specs moving forward.

- Pumps – on schedule, will verify this week.

- Starting treatments with copper sulfate

- Meters for cfs should be calibrated. We’ve been doing it as needed, will add all 3 meters as a standard practice at startup. Morgan’s meter doesn’t work at all. Will look into who can service them. Possibly Talos.

- Executive Session: 10:00 to 10:10 Hiring new employee

Director Jeff Tarr moved to adjourn the meeting, all in favor.

Meeting adjourned at 10:10 am

Director    ___________________		Director    ___________________

Director    ___________________